## Sheet1
Instrumental calibration using a linear (straight-line) curve fit. | [9 empty] | © Tom O'Haver, Version 3, revised July 2013
| Calibration data | [8 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
Compound | Standard mp. | Observed mp. | [5 empty] | Observed mp. | Corrected temp. | data entries
Naphthalene | 82 | 88 | [5 empty] | 177 | 169.334 | 2
Oxalic Acid Hydrate | 101 | 107 | [7 empty] | 2
Urea | 133 | 140 | [7 empty] | 2
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[6 empty] | R2 = | 0.99993 |  |  | 0
0
|  |  | Graph |  | Correction Equation |  |  |  |  | 0
|  |  | slope= | 1.0208 | Ts = a * ts + b |  | a = | 0.9796 |  | 0
|  |  | intercept= | 4.14 |  |  | b = | -4.0555 |  | 0
[5 empty] | Ts = Corrected Temp. |  |  |  |  | 0
[5 empty] | Ts = Observed Temp. |  |  |  |  | 0
0
0
0
| With acknowledgement to | [8 empty] | 0
| © Tom O'Haver, Version 2.1, July 2011, expanded June 2013 | [8 empty] | #REF!
| Rights granted for educational purposes | [8 empty] | #REF!
0
0
0
0
0
0
0
0
0
0
0
0
Note on B17: Instructions : Enter Standard mp. Values in Column B. Enter Observed melting temperatures in Column C. [ Use final mp. value if range quoted ]
Note on J17: Enter Observed mp. For unknown compound in Column J, Corrected Temp. Will be shown in Column K.

## Sheet2
Residual calculations
Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
82 | 87.8475 | -0.15253 | #REF!
101 | 107.2431 | 0.2431 | #REF!
133 | 139.9094 | -0.090567 | #REF!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
#REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!
82 |  | #VALUE!